Specification Guide Note: This specification section is written following the recommendations of the Construction Specifications Institute (CSI) Project Resource Manual, including MasterFormat™, SectionFormat™ and PageFormat™. Optional text is indicated by brackets [ ]; delete optional text in final copy of specification. Specification Guide Notes precede specification text; delete notes in final copy of specification. Trade/brand names with appropriate product model numbers; styles and types are used in Specification Guide Notes and in the specification text Article titled “Acceptable Material”. Metric conversion, where used, is shown in parentheses ( ).

Specification Guide Note: Revise the section number and title below to suit project requirements, specification practices and section content. Refer to CSI MasterFormat for other section numbers and titles, which may be suitable for the project.

PART 1 GENERAL

1.01	SUMMARY

A.	Section Includes: This Section specifies design, supply and installation of window washing systems and suspended maintenance equipment.

1.02	RELATED SECTIONS

Specification Guide Note: Include in this Article only those sections that directly affect the work of this section. Do not include Division 00 or Division 01 sections since it is included that all technical sections are related to all project Division 00 and Division 01 sections to some degree.

A.	Section [01 31 19 – Project Meetings]

B.	Section [01 61 00 – Common Product Requirements]

C.	Section [01 74 00 – Cleaning and Waste Management]

D.	Section [03 30 00 - Cast-in-Place Concrete: concrete runway, piers and sleepers for roof cars].

E.	Section [05 05 23 - Metal Fastenings: horizontal lifeline fasteners].

F.	Section [05 50 00 - Metal Fabrications: monorail and davit system cantilevered support brackets].

G.	Section [07 62 00 - Sheet Metal Flashing and Trim: aluminum flashing for davit bases].

H.	Section [08 44 00 - Curtain Wall and Glazed Assemblies: mullion and stabilization co-ordination].

I.	Section [26 00 00 - Electrical: climbing monorail power supply].

J.	Section [26 25 00 - Enclosed Bus Assemblies: climbing monorail busbar].

K.	Section [01 78 00 - Closeout Submittals].

Specification Guide Note: Article below may be omitted when specifying manufacturer’s proprietary products and recommended installation. Retain Reference Article when specifying products and installation by an industry reference standard. Indicate issuing authority name, acronym, standard designation and title. Contract Conditions or Section 01 42 19 - Reference Standards may establish the edition date of standards. This Article does not require compliance with standard, but is merely a listing of references used. Article below should list only those industry standards referenced in this section. Retain

only those reference standards to be used within the text of the project specific Section. Add and delete as required for specific project.

1.03	REFERENCES

A.	American Institute of Steel Construction (AISC).

1.	AISC S342L [1993], Load and Resistance Factor Design Specification for Structural Steel Buildings (including Supplement No.1).

B.	Aluminum Association (AA).

1.	AA DAF 45, Designation System for Aluminum Finishes.

2.	AA ADM-1 [2000], Aluminum Design Manual.

D.	American Society of Mechanical Engineers (AMSE).

1.	ASME A120.1 [2006], Safety Requirements for Powered Platforms and Traveling Ladders and Gantries for Building Maintenance.

E.	American National Standards Institute / International Window Cleaning Association (ANSI/IWCA).

1.	ANSI/IWCA I-14.1 [2006], Window Cleaning Safety Standard.

F.	American Welding Society (AWS).

1.	AWS D1.2/D1.2M [2003], Structural Welding Code - Aluminum.

2.	AWS D1.1/D1.1M [2006], Structural Welding Code—Steel.

G.	ASTM International (ASTM).

1.	ASTM A123/A123M [2002], Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

2.	ASTM A167 [1999 (2004)], Specification for Stainless and Heat Resisting Chromium Nickel Steel Plate, Sheet and Strip.

3.	ASTM A276 [2006], Standard Specification for Stainless Steel Bars and Shapes.

4.	ASTM A492 [1995 (2004)] Standard Specification for Stainless Steel Rope.

5.	ASTM B221 [2006], Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

H.	International Code Council (ICC).

1.	International Building Code.

I.	Occupational Safety and Health Administration (OSHA).

1.	OSHA 1910, Subpart D, Walking and Work Surfaces.

2.	OSHA 1910, Subpart F, Appendix C, Personal Fall Arrest Systems.

3.	OSHA Ruling on Window Cleaning by Bosun’s Chair.

4.	OSHA 1910.66 Subpart F, Powered Platforms.

J.	National Roofing Contractor’s Association (NRCA)

1.	The NRCA Roofing and Waterproofing Manual, Fifth Edition.

K.	Uniform Building Code (UBC).

1.04	ACTION SUBMITTALS

A.	General: Submit listed action submittals in accordance with Contract Conditions and Section [01 33 00 - Submittal Procedures].

B.	Shop Drawings: Indicate information on shop drawings as follows:

1.	Submit shop drawings showing complete layout and configuration of window cleaning and suspended maintenance system, including components and accessories.

2.	Indicate design and fabrication details, window "drops", hardware, and installation details.

3.	Include installation and rigging instructions and:

a.	Required restrictive working usage and general safety notes.

b.	Non-restrictive working usage and general safety notes.

Specification Guide Note: Owner or Owner’s representative may request either submission of calculations or test reports, or they may require submission of both. Edit the following Paragraph to meet project requirements.

4.	Ensure Shop Drawings are reviewed by Engineer licensed in State of [______] and submit [calculations] [and] [test reports] to [Architect] [Consultant] [Owner].

C.	Submit product data, including manufacturer’s technical data sheet, for specified products.

1.05	INFORMATION SUBMITTALS

A.	Quality Assurance:

1.	Test Reports: Certified test reports showing compliance with specified performance characteristics and physical properties.

2.	Certificates: Product certificates signed by manufacturer certifying materials comply with specified performance characteristics and criteria and physical requirements.

3.	Manufacturer’s installation instructions.

1.06	CLOSEOUT SUBMITTALS

A.	Submit 1-year standard manufacturer warranty documents specified.

B.	Operation and Maintenance Data: Submit Operation and Maintenance data for installed products in accordance with Section [01 78 00 - Closeout Submittals].

1.	Include:

a.	Manufacturer’s instructions covering maintenance requirements and parts catalog giving complete list of repair and replacement parts with cuts and identifying numbers.

b.	[1] copy of system Equipment Manual & Inspection Log Book, with "Initial Inspection - Certification for Use" and "Inspection Sign-Off" forms completed.

c.	[2] copies of reduced, “as-built shop drawing” showing equipment locations and details. Ensure drawing is posted adjacent exits to roof.

1.07	QUALITY ASSURANCE

A.	Qualifications:

1.	Installer experienced in performing work of this section who has specialized in installation of work similar to that required for this project.

2.	Manufacturer Qualifications: Manufacturer capable of providing field service representation during construction and approving application method.

Specification Guide Note: Article below should list obligations for compliance with specific code requirements particular to this section. General statements to comply with a particular code are typically addressed in Contact Conditions and Section 01 41 00 - Regulatory Requirements. Repetitive statements should be avoided. Current data on building code requirements and product compliance may be obtained from manufacturer technical support specialists.

B.	Regulatory Requirements.

Specification Guide Note: Window washing equipment systems must also meet the requirements of building codes and zoning bylaws issued by Federal, State and local government authorities having jurisdiction. Ensure that project specification section reflects the need to meet these requirements. Edit Article below as applicable.

1.	Comply with [Uniform Building Code (UBC)] [International Building Code (IBC)] [Building Code for [State] [City] of [______] ].

2.	Comply with OSHA regulations as follows:

a.	1910, Subpart D, Walking and Working Surfaces.

b.	Appendix C to 1910 Subpart F, Personal Fall Arrest Systems.

c.	OSHA Ruling on Window Cleaning by Bosun's Chair.

d.	1910.66, Subpart F, Powered Platforms.

C.	Pre-installation Meetings: Conduct pre-installation meeting to verify project requirements, manufacturer’s installation instructions and manufacturer’s warranty requirements. Comply with [Section 01 31 19 - Project Meetings].

1.08	DELIVERY, STORAGE AND HANDLING

A.	General: Comply with [01 61 00 - Common Product Requirements].

B.	Ordering: Comply with manufacturer’s ordering instructions and lead time requirements to avoid construction delays.

C.	Delivery:

1.	Deliver materials in manufacturer’s original packaging with identification labels intact and in sizes to suit project.

D.	Storage and Protection:

1.	Store materials protected from exposure to harmful weather conditions and at temperature conditions recommended by manufacturer.

E.	Transportation and Handling:

1.	Ensure center of gravity of davits weighing [80] lbs ([36.3] kg) or greater remains [36] inches ([915] mm) maximum above safe surface while transporting.

2.	Ensure davits requiring [80] lbs ([36.3] kg) or greater lifting effort are equipped with are equipped with mechanical means of hoisting into position.

F.	Packaging Waste Management:

Specification Guide Note: The disposal of packaging waste into landfill sites demonstrates an inefficient use of natural resources and consumes valuable landfill space. Specifying appropriate packaging and construction waste management and disposal procedures may contribute to points required for LEED® construction project certification.  Specify Leed requirements for project here.

1.	Separate waste materials for [reuse] [and] [recycling] [_____] in accordance with [Section 01 74 19 - Construction Waste Management and Disposal] [_____].

Specification Guide Note: Manufacturer may take back packaging and delivery materials for recycling.

2.	Remove from site and dispose of packaging materials at appropriate recycling facilities.

3.	Collect and separate for disposal [paper] [plastic] [polystyrene] [corrugated cardboard] [_____] packaging material [in appropriate onsite bins] [_____] for recycling.

1.09	PROJECT AMBIENT CONDITIONS

A.	Installation Location: Assemble and erect components only when temperatures are above [40] degrees F ([4] degrees C).

1.10	SEQUENCING

A.	Sequence with other Work and Comply with window washing equipment manufacturer’s written recommendations for sequencing construction operations.

Specification Guide Note: Coordinate Article below with Contract Conditions and with 01 78 36 - Warranties.

1.11	WARRANTY

A.	Project Warranty: Refer to Contract Conditions for additional project warranty provisions.

B.	Manufacturer’s Warranty: Submit, for Owner’s acceptance, manufacturer’s standard warranty document executed by authorized company official. Manufacturer’s warranty is in addition to, and does not limit, other rights Owner may have under Contract Documents.

Specification Guide Note: Coordinate Article below with manufacturer’s warranty requirements.

C.	Warranty: Commencing on date of substantial completion set by [Owner] [Architect] [Consultant].

PART 2 PRODUCTS

2.01	MANUFACTURERS

A.	Ensure manufacturer has minimum [10] years experience in manufacturing window washing and suspended maintenance system components similar to or exceeding requirements of project.

B.	Manufacturer’s Insurance: Ensure manufacturer carries liability insurance to protect against product and system failure in amount of Ten million dollars US ($10,000,000) minimum.

C.	Manufacturer’s Insurance:  Ensure manufacturer carries errors & omission professional liability insurance in the amount of Two million dollars US ($2,000,000) minimum.

Specification Guide Note: Retain Article below for proprietary method specification. Add product attributes, performance characteristics, material standards and descriptions as applicable. Use of such phrases as “or equal” or “or approved equal” or similar phrases may cause ambiguity in specifications. Such phrases require verification (procedural, legal and regulatory) and assignment of responsibility for determining “or equal” products.

2.02	PROPRIETARY PRODUCTS AND SYSTEMS

A.	Manufacturer: Pro-Bel Group of Companies, Phone: (905) 427-0616, USA Toll Free: (800) 461-0575, Fax: (905) 427-2545, E-mail: info@pro-belgroup.com, Internet URL: www.pro-bel.com

2.03	DESIGN PERFORMANCE REQUIREMENTS

A.	Design window cleaning and suspended maintenance system to suit project requirements to [AISC S342L] [and as indicated].

B.	Locate anchorages to suit suspension equipment specified.

C.	Design anchor components for cleaning and suspended maintenance equipment to [ASME A120.1].

1.	Ensure compatibility with industry standard equipment.

2.	Anchorage and anchor components: Designed by Engineer qualified in design of window cleaning and suspended maintenance equipment and licensed in State of [______].

D.	Design system fall arrest safety anchors and equipment supports to [AISC S342L (including supplement No.1)] [and ANSI/IWCA I-14.1], and as follows:

1.	Comply with OSHA 1910, Subpart F, Appendix C.

2.	Supports for Suspended Platforms including davits, rigging sleeves and monorail:

a.	Safety factor against fracture or detachment: 4 to 1.

a.	Vertical service load: [1000] lbs ([4.45] kN) minimum.

b.	Rated load against fracture: [4000] lbs ([17.8] kN) minimum.

3.	Fall Arrest Safety Anchors:

a.	Fall arresting force safety factor of 2 to 1 without permanent deformation: [1800] lbs ([8.0] kN) minimum.

Specification Guide Note: For projects in California specify fall arrest force against fracture or detachment of 5400 lbs (24 kN) minimum.

b.	Fall arrest force against fracture or detachment: [5,000] [5,400] lbs ([22.4] [24] kN) minimum.

2.04	EQUIPMENT

- Monorails

2.05	MONORAILS

A.	Monorails and Mounting: Aluminum extrusions to ASTM B221 [50] Ksi ([350] MPa) minimum yield strength and [65] Ksi ([450] MPa), minimum tensile strength and designed to carry [1000] lbs ([4.5] kN) minimum vertical service load.

B.	Monorail Finish:

1.	Exterior: Aluminum, to AA DAF-45

2.	Interior: include Mill Finish

C.	Capacity/Data Plates: Ensure non-corrosive data plate stating Maximum Service Capacity of monorail, Manufacturer's Name, Serial No., Manufacturing Date, rated load and other pertinent information is prominently displayed.

D.	Trolleys: Heavy-duty, Corrosion resistant, weatherproof rollers, [0.625] inches ([16] mm) minimum diameter stainless steel U-bar safety anchors to ASTM A276,Type 304 exterior finish.

1.	Interior finish to be powder coated mild steel to match monorail.

2.	Ensure trolleys to run freely under load with minimum discontinuity at rail splices.

3.	Provide removable end stops.

E.	Support Brackets: Cantilevered galvanized steel brackets as indicated.

1.	Locate brackets as close to and no greater than [16] inches ([400] mm) from monorail joints.

F.	Acceptable Materials: Pro-Bel Group, Monorail System.

2.06	ELECTRICAL REQUIREMENTS

Specification Guide Note: Except where specified elsewhere for powered platforms and hoists use the following Paragraph for electrical requirements.

A.	Receptacles: Waterproof, independently protected main line power receptacles rated 208 volts, 3 phase, 60 Hertz, 30 amperes.

1.	Acceptable material: Hubbell Twist-Lock.

B.	Ensure main line power is located [100] feet ([30] m) maximum from powered window washing equipment.

C.	Ensure power outlets experience 3% maximum voltage drop under full load.

2.07	SOURCE QUALITY CONTROL

A.	Ensure window washing equipment components and materials are from single manufacturer.

Specification Guide Note: Edit Article below to suit project requirements. If substitutions are permitted, edit text below. Coordinate with Section 01 25 13 - Product Substitution Procedures.

2.08	PRODUCT SUBSTITUTIONS

- Substitutions: [In accordance with Section 01 25 13 - Product Substitution Procedures]] [No substitutions permitted].

PART 3 EXECUTION

3.01	INSTALLERS

A.	Provide experienced and qualified technicians to carry out erection, assembly and installation of window washing and suspended maintenance equipment system.

B.	Do steel welding to AWS D1.2/D1.2M.

C.	Do aluminum welding to AWS D1.1/D1.1M.

3.02	MANUFACTURERS INSTRUCTIONS

A.	Compliance: Comply with manufacturer’s written data, including product technical bulletins, product catalog installation instructions and Pro-Bel Group technical data sheets.

3.03	EXAMINATION

A.	Site Verification of Conditions:

1.	Verify that substrate conditions which have been previously installed under other sections or contracts, are acceptable for product installation in accordance with manufacturer’s instructions prior to installation of window washing equipment.

2.	Inform [Owner] [Architect] [Consultant] of unacceptable conditions immediately upon discovery.

3.	Proceed with installation only after unacceptable conditions have been remedied.

3.04	PREPARATION

A.	Ensure structure or substrate is adequate to support complete window washing equipment system.

B.	Ensure structural steel to receive safety anchors [has adequate bearing surface as indicated on shop drawings] [and] [has 100% welds between anchors and structural steel].

3.05	INSTALLATION

Specification Guide Note: Co-ordinate installation with the manufacturer’s written installation

details and instructions.

A.	Coordinate window washing equipment work with work of other trades, for proper time and sequence to avoid construction delays.

B.	Install window washing equipment plumb and level in accordance with manufacturer’s written instructions.

C.	[Mechanically fasten anchors in accordance with manufacturer’s recommendations] [Install anchors in concrete in accordance with Section 03 30 00 - Cast-in-Place Concrete and with manufacturer’s recommendations.

D.	Accurately fit and align, securely fasten and install free from distortion or defects.

E.	Deform threads of tail end of anchor studs after nuts have been tightened to prevent accidental removal and vandalism.

3.06	FIELD QUALITY CONTROL

A.	When necessary have the manufacture assist in installation.

3.07	ADJUSTMENT

A.	Complete "Initial Inspection - Certification for Use" form included in Equipment Manual and Inspection Log Book provided by manufacturer.

3.08	FINAL CLEANING

A.	Do cleanup in accordance with Section [01 74 00 - Cleaning and Waste Management].

B.	Upon completion, remove surplus and excess materials, rubbish, tools and equipment.

3.09	PROTECTION

Specification Guide Note: Co-ordinate the following Paragraph with Section 01 76 00 - Protecting Installed Construction.

A.	Protect installed product from damage during construction in accordance with Section [01 76 00 - Protecting Installed Construction].

B.	Make good damage to adjacent materials caused by window washing equipment installation.

3.10	MAINTENANCE

A.	Repair or replace parts of window washing equipment whenever required due to defect and normal wear and tear.

B.	Use only standard parts of product line of manufacturer of window washing equipment.

C.	Provide personnel to perform work under supervision and in direct employ of window washing equipment system manufacturer or manufacturer's licensed agent.

D.	Perform work during regular trade working hours satisfactory to [Owner] [Architect] [Consultant].

E.	Ensure that maintenance personnel register with designated building personnel at time of inspections and maintenance.

END OF SECTION